## BTS
2015 Water Treatment Plant Improvements Project
Bid Tab Sheet |  |  |  |  | Addendum #1
Item No. | Item Description | Quantity | Units | Unit Cost | Extended Cost
North Plant Clarifiers
1 | Clarifier No. 1 Valve Location - Including demolish and remove existing valve, vault and piping, furnish and install new 14" 12" flanged gate valve with gear and handwheel, modulating electric operator, pipe, fittings, conduit and wiring to operator, new concrete vault, lid, hatch and all incidentals necessary for complete installation. | 1 | LS
2 | Clarifier No. 2 Valve Location - Including demolish and remove existing valve, vault and piping, furnish and install new 12" flanged gate valve with gear and handwheel, modulating electric operator, pipe, fittings, conduit and wiring to operator, new concrete vault, lid, hatch and all incidentals necessary for complete installation. | 1 | LS
3 | Control Panel Clarifiers 1 & 2 - Including NEMA 4X stainless steel control panel, mounting bracket and frame, control units, conduit and wiring to vaults, connection to power at adjacent existing panel unit, startup, training and all incidentals necessary for complete installation and a fully functional system. | 1 | LS
Middle Plant Clarifiers
4 | Clarifier No. 3 Valve Location - Including demolish and remove existing valve, piping and brick manhole, furnish and install new 12" flanged gate valve with gear and handwheel, modulating electric operator, pipe, fittings, conduit and wiring to operator, new concrete vault, lid, hatch and all incidentals necessary for complete installation. | 1 | LS
5 | Clarifier No. 4 Valve Location - Including demolish and remove existing valve, vault and piping, furnish and install new 12" flanged gate valve with gear and handwheel, modulating electric operator, pipe, fittings, conduit and wiring to operator, new concrete vault, lid, hatch, and all incidentals necessary for complete installation. | 1 | LS
6 | 60" Type B Fiberglass Manhole - Furnish and install new manhole on junction of existing drain line from Clarifier No. 3 and drain line from Clarifier No. 4, including labor, materials, and all incidentals necessary for complete installation. | 1 | LS
7 | Control Panel Clarifiers 3 & 4 - Including NEMA 4X stainless steel control panel, mounting bracket and frame, control units, conduit and wiring to vaults, connection to power at adjacent existing panel unit, startup, training and all incidentals necessary for complete installation and a fully functional system. | 1 | LS
South Plant Clarifier
8 | Clarifier No. 5 Valve Location - Including demolish and remove existing valve, vault and piping, furnish and install new 16" flanged gate valve with gear and handwheel, modulating electric operator, pipe, fittings, conduit and wiring to operator, new concrete vault, lid, hatch, and all incidentals necessary for complete installation. | 1 | LS
9 | Control Panel Clarifier 5 - Including NEMA 4X stainless steel control panel, mounting bracket and frame, control unit, conduit and wiring to vault, connection to power at adjacent existing panel unit, startup, training and all incidentals necessary for complete installation and a fully functional system. | 1 | LS
Pipe Gallery
10 | 20" Butterfly Valve - Including removal of existing valve, electric actuator, mounting bracket, conduit and wiring, furnish and install new 20" flanged butterfly valve with gear and handwheel, open-close electric operator, conduit, wiring, hook-up and all incidentals necessary for complete installation. | 9 | EA
11 | 24" Butterfly Valve - Including removal of existing valve, electric actuator, mounting bracket, conduit and wiring, furnish and install new 24" flanged butterfly valve with gear and handwheel, open-close electric operator, conduit, wiring, hook-up and all incidentals necessary for complete installation. | 6 | EA
12 | Repair Filter Effluent to Clearwell Connection - Including demolition and removal of existing concrete and piping, furnish and install new pipe, fittings, concrete, and all incidentals necessary for complete installation. | 6 | EA
Gravity Filters
13 | Replace Underdrain Caps - Including removal of existing caps, retainers and air-hoses, furnish and install new caps on existing Leopold Universal ® Type S Underdrain system, sealant, screws, air hoses, clamps and all incidentals necessary for complete installation and a fully functional system. | 14 | EA
14 | Replace Media - Including removal and disposal of old media, furnish and install new Silica Sand and Anthracite for complete installation. | 15 | EA
Contingency
15 | Contingency | 1 | LS | 400000 | 400000
Total Base Bid:
Bid Alternate #1
16 | Rehabilitate Pipe Coating - North Filter Pipe Gallery - Including preparation of pipe and surfaces, furnish and apply coating system. | 1 | LS
Total Base Bid + Bid Alternate #1:
Bid Alternate #2
17 | Rehabilitate Pipe Coating - South Filter Pipe Gallery - Including preparation of pipe and surfaces, furnish and apply coating system. | 1 | LS
Total Base Bid + Bid Alternate #2:
Total Base Bid + Bid Alternate #1 + Bid Alternate #2: